## Slide 1: RPF Task Group Feedback Lab Accreditation TG
May 2008

## Slide 2: Background ISO 17025 Accreditation
ISO 17025 Accreditation looks at 5 areas in a laboratory:
  Environment
  Equipment
  Methods
  Measurement validity & traceability
  Personnel competence
SANAS – assessors, site lab accreditation, training, etc

## Slide 3: 1. SANAS – assessors, site lab accreditation, training, etc
SANAS has put together a strategic plan for Civ Eng laboratories which covers a number of areas incl test methods, PT schemes, no of assessors and site lab accreditation.
Technical assessors:
  3 at present available with a 4th very soon. (3xGP & 1xEC) with capacity for 9 assessment p.a. each
  SANAS will be training a further 3 in Aug this year (preferably BEE)
  Targeting academics for certain areas (esp. cement production industry) due to competition.
Forward possible candidates to me: damhuisr@nra.co.za or marlanp@sanas.co.za
www.sanas.co.za for more information on SANAS

## Slide 4: 1. SANAS – assessors, site lab accreditation, training, etc
Site lab accreditation:
  Draft doc based on OZ model (NATA) but not accepted by SANAS
  Working committee to be set up by SANAS at next STC meeting in June / July.

## Slide 5: 2. ISO 17025 REQUIREMENTS: Measurement validity & traceability
ISO 17025 demands in Section 5.9 that laboratories assure the quality of the test by one of the following:
  Reference materials
  Interlab comparisons or PT schemes
  Replicate testing
  Retesting of retained samples
  Correlation of results from different characteristics of an item eg PI vs LS
It requires that the selected method should be appropriate to the type & volume of the work.
SANAS prefers PT schemes but does not specify the model.
Practical in
our
environment

## Slide 6
High level PT scheme proposal developed for a National Proficiency Testing Scheme
Pilot study Gautrans & WCPA (2004/05)
Based on CLIENT requirements
2. ISO 17025 REQUIREMENTS: Measurement validity & traceability
National Proficiency Assessment Services for Roads
NPASR

## Slide 7
Based on:
National scheme.
Must be accredited to ISO Guide 43.
Must be run independently / sustainable.
Industry had certain reservations about the system, esp the cost & frequency of tests.
The NPASR System has been broadened to meet the goals of various organizational groups – clients & commercial labs.
2. ISO 17025 REQUIREMENTS: Measurement validity & traceability

## Slide 8
Broadened system has 3 levels of Prof Testing to be based on national standards:
Level 1: National PT scheme (as per original)
High accuracy, Relatively High cost, low frequency – tests accuracy of labs’ results, repeatability & reproducibility for various tests.
Level 2: Local interlab comp scheme: Medium accuracy, medium frequency – tests lab’s bias precision and systematic errors.
Level 3: In-house replicate / repeat testing: Low cost, Medium accuracy, High frequency – tests labs random errors
2. ISO 17025 REQUIREMENTS: Measurement validity & traceability

## Slide 9
Outcomes required for system:
  As previous system: National scheme with local testing cells. Cells ideally must overlap,
  Must be accredited to ISO Guide 43
  Must be run independently / sustainable.
  Levels must feed into each other
  Similar basis of non-conformance for all labs ie similar actions required by labs for similar rating.
Due to priority – a partnership is being developed between the taskgroup and possible service provider/s to develop the Level 2 and 3 systems. Level 1 will continue being developed and expanded.
Program:- Uniform Level 2 & 3 Inter-lab comparison system in place by late 2009. Rest to follow thereafter.
Possibility of NLA running scheme?
2. ISO 17025 REQUIREMENTS: Measurement validity & traceability

## Slide 10
Level 1:
National PT scheme:
High accuracy,
High cost,
low frequency
tests accuracy
repeatability & reproducibility
Level 2
Local interlab comp scheme
Medium accuracy
medium frequency
Tests lab’s bias precision and systematic errors
Level 3
In-house replicate / repeat testing
Low cost, Medium accuracy, High frequency
Tests labs random errors
Increase in frequency
Costs
Increase in risk of “poor” result being reported
R&R values, typical UoM values set
Lab limits cannot be set outside R&R & UoM values
Replicate tests should be correlated with Level 2 results.

## Slide 11: Human resource development
From Les Sampson’s presentation
Skills development and HR growth only a priority in the last 2 years
Inappropriate qualifications at all levels
  CETA; Materials testing; Pavement Engineering

## Slide 12: Development of Materials testing Competence
Several Civil Engineering (materials oriented) qualifications:
  Generic B Eng, B Tech & N-Dip
  National Certificate in Pavement Engineering - NQF 6
  Generic National Certificate in Construction– NQF 1 – 4
  Generic certificates in Engineering – NQF 5 – 6
  National Certificate in Construction materials manufacturing
  National certificate in materials testing NQF 2 – 4
  Construction Material testing qualification
  ???
A number of them appear to be targeting a similar market
Duplication of efforts??
Is there a single strategic coordinated approach to developing these qualifications?

## Slide 13: 3. Development of Materials testing Competence
Construction Materials Testing qualification
22 March 2006, workshop held for establishment of a ‘Construction Materials Testing Qualification’ on behalf of the ‘Construction CETA’
A decision was made for the establishment of a
  Materials Tester’s qualification and a
  Materials Tester Competency certification.
These two frameworks were accepted in principle by Construction CETA.

## Slide 14
Construction Materials Testing qualification
  Generic qualification covering various aspects of lab testing, from NQF 2 – 4.
  Rank the complexity of test in the various streams and modify the range statements of the unit standards
  Under development with SAQA – in process of review. Workshops to be held soon.
Even though not yet approved, some training bodies are aligning training material to cover various aspects of course. Eg AsAc Materials Testers’ courses on questionnaire.
3. Development of Materials testing Competence

## Slide 15: 3. Development of Materials testing Competence
National Laboratory Association Materials Testers Competency Scheme
NLA approached by industry to set up competency scheme based on Materials Testers’ qualification.
Operator to be evaluated for competency to carry out a test method. The instrument consists of a theoretical section and a practical section.
This competency evaluation instrument can also be used when evaluating practical work for National Diploma (Civil) / Materials Diploma students.
Scheme to be SANAS accredited to ISO 17024 Personnel Competence.
SANAS supported - will reduce burden of proof for
  tester competency.
Funding needed for go-ahead

## Slide 16
ECSA
NLA mat reg
Growth in line with SAQA
3. Development of Materials testing Competence

## Slide 17: NLA Testing & Measurement Conference
Annual 2 day generic laboratory conference
Industry specific streams eg calibration, water, electrical, wood, etc
Deals with several common lab accreditation subjects:
  UoM
  PT schemes
  Validation of tests
  Equipment handling & calibration
  etc
3. Development of Materials testing Competence

## Slide 18
Topic for 2008: Risk management through making quality measurements
25-27 August 2008
For more details see www.nla.org.za
NLA Testing & Measurement Conference
3. Development of Materials testing Competence

## Slide 19: NLA Testing & Measurement Conference
NLA has offered to host a civil engineering stream.
Advantages:
  Comment and feedback on industry progress eg test methods, PT schemes, etc
  Labs can workshop common issues – UoM, R&R, interpretation of results
  Network with other laboratory streams to discuss common issues.
  CPD points for materials techs / engineers
3. Development of Materials testing Competence

## Slide 20: Summary & way forward??
RPF / RECOB to support SANAS in their efforts to sort out our laboratory issues.
A co-ordinated approach to education & training through RECOB / RPF nominations for mandated persons on various industry boards (ECSA, SAQA, CETA, etc) in order to expedite / unify processes.
Establishment of the NLA Materials testers competency scheme.
Establishment of Civil Eng stream at NLA annual T&M conference.

## Slide 21
Thanx
Any questions?